**TECHNICAL EVALUATION CRITERIA OF THE BID FOR GENERATOR**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **S.No** | **Description** | **MARKS** | **Power Vision** | **Energy Solution** | **MIA Energy** | **Perfect Electrification (PE)** | **Greaves Pakistan**  **(Pvt) Ltd** |
| 1 | The firm only reputed and original manufacturer of complete 100 & 30 KVADG set including Engine, Alternator and accessories or manufacturer’s authorized supplier/service provider of the same is eligible to participate in the tender. Sufficient and adequate proof in support of the above in the technical proposal.  Note:- No assembler or reseller shall be considered. Combination of different makes of engine and Alternator is strictly  Not acceptable. | **20** | 20 | 20 | 20 | Incomplete / Rejected | 20 |
| 2 | Credential of supply and installation of at least 05 Nos. 100 & 30 KVA DG set to Centre, state, defense, public sector or national institution during the last 03 years. Copies of work order/ completion  Certificates are to be attached. | **10** | 10 | 10 | 10 | 10 |
| 3 | Availability of authorized service center/repair and maintenance facility in Peshawar/Islamabad/Rawalpindi. Address  And contact details are to be attached. | **10** | 10 | 10 | 10 | 10 |
| 4 | Detail of competent testing authority for certification of equipment parameters and performance guarantee of the DG sets.  Schedule of principal items which the  Tenderer proposes to supply. | **10** | 10 | 10 | 10 | 10 |
| 5 | Trading License, PEC License, and tax payer registration certificate | **15** | 15 | 15 | 15 | 15 |
| 6 | Spare parts availability(the firm or its principal has spare parts depot/facility in  the area inconsideration. | **15** | 15 | 15 | 15 | 15 |
| 7 | Proof of registration with Federal or Provincial registration Act | **10** | 10 | 10 | 10 | 10 |
| 8 | Technical Staff posted in the zone inconsideration | **10** | 10 | 10 | 10 | 10 |
|  | **Total** | **100** | 100 | 100 | 100 | 100 |